Energy performance certificate (EPC)

| Flat 4 81 Greencroft Gardens LONDON NW6 3LJ | Energy rating C | Valid until: | 9 July 2035 |
| --- | --- | --- | --- |
|  |  | Certificate number: | 0030-0200-4205-0814-5600 |

Property type	Mid-floor flat

Total floor area	82 square metres

# Rules on letting this property

Properties can be let if they have an energy rating from A to E.

You can read guidance for landlords on the regulations and exemptions (https://www.gov.uk/guidance/domesticprivate-rented-property-minimum-energy-efficiency-standard-landlord-guidance).

| Energy rating and score This property’s energy rating is C. It has the potential to be B. See how to improve this property’s energy efficiency. | The graph shows this property’s current and potential energy rating. Properties get a rating from A (best) to G (worst) and a score. The better the rating and score, the lower your energy bills are likely to be. |
| --- | --- |

For properties in England and Wales:

| Score | Energy rating |  |  |  |  |  |  |  | Current | Potential |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 92+ | A |  |  |  |  |  |  |  | 78 C | 82 B |
| 81-91 | B |  |  |  |  |  |  |  |  |  |
| 69-80 | C |  |  |  |  |  |  |  |  |  |
| 55-68 | D |  |  |  |  |  |  |  |  |  |
| 39-54 | E |  |  |  |  |  |  |  |  |  |
| 21-38 | F |  |  |  |  |  |  |  |  |  |
| 1-20 | G |  |  |  |  |  |  |  |  |  |

the average energy rating is D the average energy score is 60

# Breakdown of property’s energy performance

## Features in this property

Features get a rating from very good to very poor, based on how energy efficient they are. Ratings are not based on how well features work or their condition.

Assumed ratings are based on the property’s age and type. They are used for features the assessor could not inspect.

| Feature | Description | Rating |
| --- | --- | --- |
| Wall | Solid brick, as built, no insulation (assumed) | Poor |
| Window | Single glazed | Very poor |  |
| Main heating | Boiler and radiators, mains gas | Good |  |
| Main heating control | Programmer, room thermostat and TRVs | Good |  |
| Hot water | From main system | Good |  |
| Lighting | Good lighting efficiency | Good |  |
| Roof | (another dwelling above) | N/A |  |
| Floor | (another dwelling below) | N/A |  |
| Air tightness | (not tested) | N/A |  |

Secondary heating	None	N/A

## Primary energy use

The primary energy use for this property per year is 117 kilowatt hours per square metre (kWh/m2).

# Smart meters

This property had no smart meters when it was assessed.

Smart meters help you understand your energy use and how you could save money. They may help you access better energy deals.

Find out how to get a smart meter (https://www.smartenergygb.org/)

# How this affects your energy bills

An average household would need to spend £730 per year on heating, hot water and lighting in this property. These costs usually make up the majority of your energy bills.

You could save £164 per year if you complete the suggested steps for improving this property’s energy rating.

This is based on average costs in 2025 when this EPC was created. People living at the property may use different amounts of energy for heating, hot water and lighting.

## Heating this property

Estimated energy needed in this property is:

4

,600 kWh per year for heating

2

,211 kWh per year for hot water

| This property’s environmental impact rating is C. It | This property’s potential production | 1.2 tonnes of CO2 |
| --- | --- | --- |

| has the potential to be B. |  |
| --- | --- |
| Properties get a rating from A (best) to G (worst) on how much carbon dioxide (CO2) they produce each year. Carbon emissions | You could improve this property’s CO2 emissions by making the suggested changes. This will help to protect the environment. These ratings are based on assumptions about average occupancy and energy use. People living at the property may use different amounts of energy. |

Impact on the environment	This property produces	1.7 tonnes of CO2

An average household	6 tonnes of CO2

produces

# Steps you could take to save energy

| Step | Typical installation cost | Typical yearly saving |
| --- | --- | --- |
| 1. Internal wall insulation | £7,500 - £11,000 | £56 |

2. Replace single glazed windows with low-E double glazed	£4,500 - £6,000	£108

windows

Advice on making energy saving improvements

Get detailed recommendations and cost estimates (www.gov.uk/improve-energy-efficiency)

## Help paying for energy saving improvements

You may be eligible for help with the cost of improvements:

Heat pumps and biomass boilers: Boiler Upgrade Scheme (www.gov.uk/apply-boiler-upgrade-scheme)

# Who to contact about this certificate

## Contacting the assessor

If you’re unhappy about your property’s energy assessment or certificate, you can complain to the assessor who created it.

Assessor’s name	Daniel Joseph

| Telephone | 0800 917 4026 |
| --- | --- |
| Email | danny@completeepc.co.uk |

## Contacting the accreditation scheme

If you’re still unhappy after contacting the assessor, you should contact the assessor’s accreditation scheme.

Accreditation scheme	Quidos Limited

| Assessor’s ID | QUID202203 |
| --- | --- |
| Telephone | 01225 667 570 |
| Email | info@quidos.co.uk |
| About this assessment Assessor’s declaration | No related party |
| Date of assessment | 8 July 2025 |
| Date of certificate | 10 July 2025 |
| Type of assessment | RdSAP |